## Sheet1
St Mary`s Church, Edenderry
Cost of Refurbishment works, 2025
Electrical works: |  |  | Other works:
Design costs | 3000 |  |  | incl VAT
Phasing and temp services | 7584
Prelims and site set up | 4927
Disconnect and removals | 7956 |  | Decoration costs, D & M Decorators Ltd | 73775
S & I of Mains Dis Boards and 2 sub Dis bards etc | 17603 |  | Kilroe Mosaics, mosaic repair costs | 4550
Cable containment systems | 19495 | 1 | ESB fee for undergrund services | 500
Lighting and Emergency light wiring and install | 54507 |  | PMB Construction Services, for altar base, plastering etc | 5000
General Services | 7755 |  | New handrails, Oakline | 2000
S & I fire detection & alarm | 25390 |  | New altar - sponsored | 0
Eart and Bond | 1516 | 2 | New Lectern - sponsored | 0
hire of access equipment | 4000 |  | New presiders chair - sponsored | 0
Rewire for CCTV | 3050 |  | Seating and carpet to Gallery - sponsored | 0
New PA/ Sound System | 33988 |  | Carpet to Altar, Joe O Connell | 4522
Internal Light fittings | 35915 | 4 | Service and recommission Gallery organ | 1000
External Building fcade lights | 2456 |  | Other builders works, for civils to ESB, etc | 8014
Refurb of lights on gates | 1000 |  | Candle holdrers, Geo Jensen | 165
Wiring Mech servvices | 1000 | 6 | ICS Ltd, Chairs to sanctuary | 5296
BWIC | 8491 |  | SBE for Autom8 account (auto door closer) | 13938
Induction Loop system | 2160 |  | MCN Media - upgrade webcam and recommission Crib webcam | 1200
Data system | 2887
ESB Metering upgrade and civils | 2845 |  | Cleaning costs on completion - volunteers | 0
S & I radiant panels, 10nr | 10415
Psum for electricals r/e moving altar | 1585 |  | Final costs for Other Items, C/fwd | 119960
Giving points etc | 5083
CCTV works, recommission | 3375.51
General electrics Commission & certs | 4248
`As Built` Docs | 698
|  |  | Cost of electrical works, B/fwd | 309774.9939
|  |  | Final costs for Other Items, C/fwd | 119960
272929.51
VAT @ 13.5% | 36845.4839
Final account with SBE, electrical. C/Fwd | 309774.9939
|  |  | TOTAL COST OF WORKS | 429734.9939